## Slide 1: Live Migration of Virtual Machines
Authors: Christopher Clark, Keir Fraser, Steven Hand, Jacob Gorm Hansen, Eric Jul, Christian Limpach, Ian Pratt, Andrew Warfield
University of Cambridge Computer Laboratory
University of Copenhagen, Denmark
Presenter: Juncheng Gu

## Slide 2: Outline
Motivation
Design
Implementation
Evaluation
Conclusion
Future Work

## Slide 3: Motivation
What’s VM live migration?
Move VM instances across distinct physical hosts with little or no downtime for running services.
  Services are unaware of the migration.
  Maintain network connections of the guest OS.
  VM is treaded as a black box.

## Slide 4: Motivation
VM live migration can be a extremely powerful tool for cluster administrators.
  Hardware / Software maintenance / upgrades
  Load balancing / resource management
  Distributed power management

## Slide 5: Motivation
Why OS-level migration, instead of process-level?
  Avoid ‘residual dependencies’
    Original host can be power-off / sleep once migration completed.
  Can transfer in-memory state in a consistent and efficient fashion
    E.g. No reconnection for media streaming application
  Allow a separation of concerns between the users and operator of a cluster
    Users can fully control of the software and services within their VM.
    Operators don’t care about what’s occurring within the VM.

## Slide 6: Motivation
Related Work
Approach | Feature
Collective project | stop-and-copy
Zap | stop-and-copy
VMotion | similar with live migration
Process migration | residual dependencies

## Slide 7: Design-challenges
Minimize service downtime
Minimize migration duration
Avoid disrupting running service
.BIN
.VSV
.XML
.VHD
Source Host
Destination Host
Storage

## Slide 8: Design-memory migration
Options
Phase | service downtime | migration duration
push | - | -
stop-and-copy | longest | shortest
pull (demand) | shortest | longest
Pre-copy
  a bounded iterative push phase + a very short stop-and-copy phase
Careful to avoid service degradation

## Slide 9: Design-local resources
Open network connections
  Migrating VM can keep IP and MAC address.
  Broadcasts ARP new routing information
    Some routers might ignore to prevent spoofing
    A guest OS aware of migration can avoid this problem
Local storage
  Network Attached Storage

## Slide 10: Design-local resources
Virtual Machine
Virtual Machine
Source
Destination

## Slide 11: Design-overview

## Slide 12: Implementation-writable working sets
Significant overhead: transferring memory pages that are subsequently modified.
  Good candidates for push phase
    Pages are seldom or never modified.
  Writeable working set (WWS)
    Pages are written often, and should best be transferred via stop-and-copy
WWS behavior
  WWS varies significantly between the different sub-benchmarks
  Migration results depend on the workload and the precise moment when migration begins

## Slide 13: Implementation-managed & self migration
Managed migration
  Performed by a migration daemon running in the management VM
Self migration
  Within the migratee OS, and a small stub required on the destination host
Difference | Managed | Self
Track WWS | shadow page table + bitmap | bitmap + a spare bit in PTE
Stop-and-copy | suspend OS to obtain a consistent checkpoint | two-stage stop-and-copy, ignore page updates in last transfer

## Slide 14: Implementation-track WWS (managed)
Using shadow page table to track dirty pages in each push round
  Xen inserts shadow pages under the guest OS, populated using guest OS's page tables.
  The shadow pages are marked read-only.
  If OS tries to write to a page, the resulting page fault is trapped by Xen.
  Xen checks the OS's original page table and forwards the appropriate write permission.
  At the same time, Xen marks the page as dirty in bitmap.
At the beginning of next push round
  Last round’s bitmap is copied to the control software, Xen’s bitmap is cleared.
  Shadow page tables are destroyed and recreated, all write permissions are lost

## Slide 15: Implementation-dynamic rate limiting
More network bandwidth, less service downtime !
downtime
performance
Less network bandwidth, less impact on running service !
Dynamically adapt the bandwidth limit during each round
  Set a minimum and a maximum bandwidth limit, begin with the minimum limit
When terminate push, and switch to stop-and-copy ?

## Slide 16: Implementation-paravirtualized optimizations
Stunning rouge processes
  Rouge process: generate dirty page at a very high rate (write one word in every page)
  Forking a monitor process: monitor the WWS of individual processes
  If a process exceeds write fault limitation, then move it to wait queue
Freeing page cache pages
  Typically, OS have a number of free pages
  Using ballooning mechanism to return free pages to VMM

## Slide 17: Evaluation-simple web server
A highly loaded server with relative small WWS
  Controlled impact on live services
  Short downtime
Migration starts

## Slide 18: Evaluation-rapid page dirtying
In the third round, the transfer rate is scaled up to 500Mbit/s (max)
Switch to stop-and-copy, resulting in 3.5s downtime
Diabolical workload may suffer considerable service downtime
Stop-and-copy

## Slide 19: Conclusion
OS-level live migration
Pre-copy: iterative push and short stop-and-copy
Dynamically adapting network-bandwidth
  Balance service downtime and service performance degradation
Paravirtualized optimizations
Minimize service downtime and impact on running service

## Slide 20: Future Work
Cluster management
  Make decisions for the placement and movement of virtual machines
Wide Area Network Redirection
  OS will have to obtain a new IP address, or some kind of indirection layer
Storage Migration
  Local disks are considerably larger than volatile memory

## Slide 21: Q&A
Thank You!