Laboratory Standard Operating Procedure
Name of Procedure: Basic operating procedure for microscope
Prepared By: Shu-jen Lee
Revision Date: 04/12/2001

LOCATION - This procedure may be performed at the following location(s): 

1032 BIRB

Note:

1. You need to get the authorization from Prof. Jerzy Kanicki, and get the training from a member of Kanicki’s group.

2. Please use the microscope during the office hour (8:30AM-5:30 PM), and please sign up the microscope log book.

3. If you have any questions when operating the microscope, please contact Shu-jen Lee.

Nomenclature

[image: image1.png]



Basic Operating Procedure

1. Turn the power switch on, and adjust the brightness by the brightness control dial.

2. Place the samples on the stage.

3. Adjust the stage travel knob and the coarse/fine knob to make the samples in the focus. For facilitating the focusing, first use the 10X and then use higher amplification objective (20X, 40X, 100X)

4. Rotate the polarizer to make the contrast better.

5. Different simplified polarizing observation could by performed by putting different filters in the optical path.

Coarse/fine focus knob





Brightness control dial (including power switch)





Universal revolving


nosepiece





Polarizer slider





Stage travel knob








