1/29/03

Preparation of red polymer solution

Standard Operating Procedure

Shu-jen Lee

Write a brief description of what this process is used for here.

This SOP is used for preparation of red polymer solution for organic light emitting devices in the 1032 BIRB.

1.0 Material Requirements: 

1.1 Equipment needed for process:

Pipette (cat no 13-678-31J in Fisher catalog), pipette pump II filler/dispenser (cat no 13-683-1c in Fisher catalog), hot plate, and hair dryer.

1.2 Chemicals needed for process:

Dow green polymer and organic solvents, such as Benzene (Fisher Scientific Certified ACS Class 1B 1 liter), Chloroform (Fisher Scientific C298-500 "certified ACS" 1 liter) (Trichloromethane), Toluene (JT Baker CMOS electronic grade 1 liter), and Xylene (Malinckrodt, low trace metal grade 1 liter)

1.2.1 Hazards associated with chemicals:

Hazard classification

      C: Moderate Poison, F: Flammable, J: Carcinogenic

	Name
	Hazard Class

	Benzene
	F, J, C

	Chloroform (Trichloromethane)
	J, C

	Toluene
	F, C

	Xylenes
	F, C


1.3 Engineering controls:

Prepare the solution in the chemical fume hood in the chemical room.

1.4 Protective equipment needed:

            Eyes: Wear chemical safety glasses or goggles.

Skin: Wear wet processing trionic gloves (Roll Purf 0726). If dealing with larger quantities (>100ml) of solvent, wear double gloves.

Other:
Do not inhale vapors.

2.0 Procedure:

2.0.1 Get a vial with weighted polymer (~20-30 mg)ready

2.0.2 Measure the required solvent (~2 ml) for required polymer solution concentration by pipette, and dispense the solvent in the vial with weighted polymer.

2.0.3 Use the hot plate (temp~60°C) and the hair dryer to heat the polymer solution until the polymer dissolves. 

3.0 Storage:

We only prepare the solution right before spin coating. Solution in a vial will be used up during the spin coating. No storage is needed.

4.0 Waste Products:

Throw used pipettes, and vials into trashcan specially prepared for organic process. MSDS reports that components of all organic solvents may be considered hazardous; Consult applicable Federal, State, and local regulations for allowable disposal methods. Properly label waste and call OSEH hazmat (3-4568) for disposal.

5.0 Accident Procedures: (Found in the MSDS)

5.1
Contact (include a subsection for each component chemical)

5.1.1 Skin:
Immediately flush skin with plenty of water for at least 15

minutes while removing contaminated clothing an shoes

5.1.2 Eyes:
Immediately flush eyes with plenty of water for at least 15minutes while removing contaminated clothing an shoes

5.1.3
Inhalation:
Remove to fresh air. If not breathing, give artificial respiration. If breathing is difficult, give oxygen. Get medical attention.

5.1.4
Ingestion:
If swallowed, do not induce vomiting. Give large quantities of water. Never give anything by mouth to an unconscious person. Get medical attention immediately.

5.2
Spill:
Wipe out completely and throw it into the same trashcan as mentioned in section 4.

5.3
Fire:
All solvents are flammable, not water reactive.

Report all accidents (injuries, spills, fires) to Prof. Jerzy Kanicki at (734) 936-0974.   For emergencies during non-business hours, call the Dept. of Public Safety at (734) 763-1311 or 911.
